## Slide 1: EcoTrack Sustainable Room Energy Monitoring Project
by Ruxandra Burian, Zichen Jing (Nancy), Jiwoo Lee, Afra Alhammadi, Renata Espinosa
By Ruxandra Burian, Zichen Jing (Nancy), Jiwoo Lee, Afra Alhammadi, Renata Espinosa

## Slide 2: General Structure
Start → detect humidity, temperature, accelerometer → data logged
Case 1: Window open/close
Humidity increase beyond threshold → data recorded → LED red light & notification to phone
Case 2: Thermostat on/off
Temperature starts to decrease and plateau → data recorded for the duration → LED red light & notification to phone
Case 3: Light on/off
Accelerometer detects movement in switch (switch 1 and 2) → data recorded for the duration → LED red light & notification to phone

## Slide 3: Datasheets used for circuit design
BME280

## Slide 4: Datasheets used for circuit design
MPU-6500

## Slide 5: Datasheets used for circuit design
VEML7700

## Slide 6: Datasheets used for circuit design
LED WS2812C

## Slide 7: Circuit Design
Humidity, temperature sensor BME280
LED WS2812C

## Slide 8: Circuit Design
M5 Stamp
Accelerometer / Gyroscope MPU-6500

## Slide 9: Initial Circuit Design
Light sensor VEML7700

## Slide 10: Device placement

## Slide 11: Work to be done
Set ‘reasonable range’ of humidity and temperature (conditions for LED light to turn red/green)
Detect when temperature decreases (& plateaus) - record time duration of AC
Process raw data of temperature → Power used → Price
Connect to website to log data
User access to this data

## Slide 12
We are looking forward to your feedback!